## Nodes
nid | osm_id | name | type | lat | lon | nominal_power_output | population | fraction_of_population | fraction_of_total_consumed_power
1 | 131600693 | Hub Power Plant | plant | 24.9062 | 66.6943 | 225 | 634938 | 0.01467 | 1.0947e+12
2 | 243988950 |  | substation | 24.9748 | 66.9265 |  | 9333022 | 0.21564 | 1.6091e+13
3 | 56393470 |  | substation | 25.4778 | 68.2684 |  | 3829902 | 0.088489 | 6.6031e+12
4 | 243917157 |  | substation | 26.7184 | 67.7423 |  | 888900 | 0.020538 | 1.5325e+12
5 | 243991061 |  | substation | 28.4313 | 69.6931 |  | 568873 | 0.013144 | 980782250105.288
6 | 53234435 |  | substation | 30.1011 | 71.1665 |  | 1173006 | 0.027102 | 2.0224e+12
7 | 53283146 |  | substation | 30.2465 | 71.6148 |  | 2151767 | 0.049716 | 3.7098e+12
8 | 72784122 |  | substation | 31.4733 | 73.1495 |  | 3056730 | 0.070625 | 5.27e+12
9 | 245490150 |  | substation | 30.669 | 73.1694 |  | 1442960 | 0.033339 | 2.4878e+12
10 |  |  | substation | 33.106 | 73.7097 |  | 288185 | 0.0066585 | 496853836878.517
11 | 245890047 |  | substation | 31.6529 | 74.0333 |  | 40680 | 0.0009399 | 70135552107.9101
12 | 218730397 |  | substation | 33.7794 | 72.253 |  | 324194 | 0.0074904 | 558936213866.072
13 | 246325734 |  | substation | 32.1036 | 73.8965 |  | 488870 | 0.011295 | 842850721705.851
14 | 241957315 |  | substation | 33.4794 | 73.1906 |  | 2023316 | 0.046748 | 3.4884e+12
15 | 218730395 |  | substation | 34.087 | 72.6917 |  | 513344 | 0.011861 | 885045842214.4301
16 | 253894250 |  | substation | 33.9277 | 71.545 |  | 1756059 | 0.040573 | 3.0276e+12
17 | 245459818 |  | substation | 27.9796 | 69.6734 |  | 74489 | 0.0017211 | 128424954301.035
18 | 245464084 |  | substation | 28.025 | 69.3646 |  | 939849 | 0.021715 | 1.6204e+12
19 | 253482956 |  | substation | 27.7629 | 66.6277 |  | 119117 | 0.0027522 | 205367172085.495
20 | 245066467 | Mangla Hydro-Power-Plant | plant | 33.127 | 73.644 | 1150 | 38597 | 0.00089178 | 66544294609.3659
21 | 245155011 | UCH Power Private Limited | plant | 28.5821 | 68.1798 | 586 | 317646 | 0.0073391 | 547646941614.287
22 | 254070557 |  | substation | 29.5164 | 67.8539 |  | 80144 | 0.0018517 | 138174623602.172
23 | 239991233 |  | substation | 30.0695 | 66.9807 |  | 628743 | 0.014527 | 1.084e+12
24 | 254623123 |  | substation | 29.8755 | 67.3057 |  | 22559 | 0.00052122 | 38893508357.9731
25 | 247647724 |  | substation | 31.3973 | 73.1474 |  | 472926 | 0.010927 | 815361998922.947
26 | 245040712 | Lalpir & Pakgen Thermal Station | plant | 30.1068 | 71.1621 | 727 | 409251 | 0.0094557 | 705581239815.986
27 |  |  | substation | 31.6957 | 74.0433 |  | 271875 | 0.0062816 | 468734101016.177
28 | 245064843 | Ghazi-Barotha Hydropower Project | plant | 33.7807 | 72.2564 | 1450 | 456628 | 0.01055 | 787262952014.031
29 | 245851253 |  | substation | 31.3262 | 74.2626 |  | 289109 | 0.0066798 | 498446886292.177
30 |  |  | substation | 31.5131 | 74.2505 |  | 118533 | 0.0027387 | 204360309685.519
31 | 303282706 |  | substation | 31.4707 | 74.3468 |  | 5063499 | 0.11699 | 8.7299e+12
32 |  |  | substation | 31.6084 | 74.3135 |  | 150098 | 0.003468 | 258780877588.326
33 |  |  | substation | 31.2314 | 73.9849 |  | 703914 | 0.016264 | 1.2136e+12
34 |  |  | substation | 31.3873 | 74.3309 |  | 38920 | 0.00089924 | 67101172272.3663
35 | 218779059 |  | plant | 34.0899 | 72.6877 | 3478 | 394447 | 0.0091136 | 680057967608.3781
36 | 253889968 |  | substation | 32.2925 | 74.1474 |  | 1686176 | 0.038959 | 2.9071e+12
37 |  |  | substation | 32.4731 | 74.4077 |  | 829838 | 0.019173 | 1430706644300
38 |  |  | substation | 31.7644 | 74.2563 |  | 1262922 | 0.02918 | 2.1774e+12
39 | 245066468 |  | substation | 33.1216 | 73.6488 |  | 0 | 0 | 0
40 |  |  | substation | 33.0744 | 73.4573 |  | 397042 | 0.0091736 | 684531953786.353
496853836878.517

## Links
lid | osm_id | nid1 | nid2 | voltage | cables | wires | length_direct
1 | 243988949 | 1 | 2 | 500000 | 3 |  | 29.3
2 | 56393467 | 1 | 3 | 500000 | 3 |  | 210
3 | 243923181 | 2 | 3 | 500000 | 3 |  | 220
4 | 243917155 | 3 | 4 | 500000 | 3 |  | 169
5 | 243917153 | 3 | 4 | 500000 | 3 |  | 169
6 | 182934944 | 4 | 5 | 500000 | 3 |  | 327
7 | 243991062 | 4 | 5 | 500000 | 3 |  | 327
8 | 244967937 | 5 | 6 | 500000 | 3 |  | 287.2
9 | 244967936 | 5 | 7 | 500000 | 3 |  | 342
10 | 244967935 | 5 | 7 | 500000 | 3 |  | 342
11 | 53233624 | 6 | 7 | 500000 | 3 |  | 60.1
12 | 246320154 | 6 | 8 | 500000 | 3 |  | 302
13 | 245484216 | 7 | 9 | 500000 | 3 |  | 173
14 | 245484217 | 7 | 8 | 500000 | 3 |  | 255
15 | 245480080 | 7 | 8 | 500000 | 3 |  | 255
16 | 245490151 | 9 | 11 | 500000 | 3 |  | 195
17 | 72784124 | 8 | 11 | 500000 | 3 |  | 101
18 | 247037586 | 8 | 12 | 500000 | 3 |  | 363
19 | 245890039 | 11 | 13 | 500000 | 3 |  | 70.3
20 | 245890041 | 11 | 13 | 500000 | 3 |  | 70.3
21 | 247469156 | 13 | 14 | 500000 | 3 |  | 216
22 | 247023976 | 13 | 14 | 500000 | 3 |  | 216
23 | 247031440 | 12 | 14 | 500000 | 3 |  | 119
24 | 218730396 | 12 | 15 | 500000 | 3 |  | 74.7
25 | 247027012 | 14 | 15 | 500000 | 3 |  | 120
26 | 73323612 | 15 | 16 | 500000 | 3 |  | 128
27 | 256271055 | 17 | 18 | 220000 | 6 |  | 39.3
28 | 245464083 | 18 | 19 | 220000 | 6 |  | 296.89
29 | 256271034 | 5 | 21 | 220000 | 6 |  | 174
30 | 256271061 | 5 | 22 | 220000 | 6 |  | 270
31 | 254070556 | 21 | 22 | 220000 | 3 |  | 110
32 | 239978076 | 22 | 23 | 220000 | 6 |  | 139
33 | 254070555 | 22 | 24 | 220000 | 6 |  | 89
34 | 256273664 | 25 | 8 | 220000 | 6 |  | 13
35 | 245890012 | 8 | 27 | 220000 | 6 |  | 110
36 | 245890010 | 11 | 29 | 220000 | 6 |  | 58
37 | 245890018 | 11 | 30 | 220000 | 6 |  | 14
38 | 245890014 | 11 | 31 | 220000 | 6 |  | 53.3
39 | 256276355 | 11 | 32 | 220000 | 6 |  | 39.5
40 | 245849159 | 33 | 34 | 220000 | 6 |  | 46.7
41 | 256277596 | 13 | 36 | 220000 | 6 |  | 39.7
42 | 253889966 | 36 | 37 | 220000 | 6 |  | 36.3
43 | 253889964 | 36 | 38 | 220000 | 6 |  | 60.5
44 | 256277594 | 36 | 39 | 220000 | 6 |  | 116.3
45 | 253889963 | 38 | 39 | 220000 | 6 |  | 30.2
46 | 248445870 | 39 | 40 | 220000 | 6 |  | 15
47 | 248445867 | 10 | 39 | 220000 | 6 |  | 10.5
48 | 248446797 | 20 | 39 | 220000 |  |  | 2.8
49 | 248446796 | 20 | 39 | 220000 |  |  | 2.8
50 | 248446795 | 20 | 39 | 220000 |  |  | 2.8
51 |  | 6 | 26 | 500000
52 |  | 12 | 28 | 500000
53 | 218764758 | 15 | 35 | 500000 | 3 |  | 0.5
54 | 218755800 | 15 | 35 | 500000 | 3 |  | 0.5

## Cities
cid | name | population | province | lat | lon | closest_distance | closest _substation_index
1 | Abbottabad | 105999 | KPK | 34.17 | 73.23 | 50.3999 | 15
2 | Abdul Hakim | 37821 | Punjab | 30.55 | 72.13 | 59.8375 | 7
3 | Ahmadpur East | 96032 | Punjab | 29.14 | 71.25 | 107.1687 | 6
4 | Ahamdpur Sial | 21110 | Punjab | 30.86 | 71.755 | 69.5286 | 7
5 | Alipur | 29499 | Punjab | 29.39 | 70.918 | 82.6242 | 6
6 | Alipur Chatha | 38991 | Punjab | 32.266 | 73.814 | 19.6587 | 13
7 | Amangarh | 21337 | KPK | 34.006 | 71.928 | 36.3806 | 16
8 | Arifwala | 72392 | Punjab | 30.294 | 73.059 | 43.0188 | 9
9 | Attock | 69588 | Punjab | 33.776 | 72.356 | 9.2159 | 28
10 | Badah | 32376 | Sindh | 27.3307 | 68.016 | 73.2813 | 4
11 | Badin | 61302 | Sindh | 24.663 | 68.841 | 107.3992 | 3
12 | Bahawalnagar | 109642 | Punjab | 30.002 | 73.253 | 74.5991 | 9
13 | Bahawalpur | 403408 | Punjab | 29.385 | 71.6789 | 93.7393 | 6
14 | Bannu | 46896 | Punjab | 32.987 | 70.606 | 136.1212 | 16
15 | Basirpur | 35852 | Punjab | 30.576 | 73.835 | 64.5234 | 9
16 | Bat Khela | 38222 | KPK | 34.605 | 71.933 | 83.3257 | 16
17 | Bhai Peru | 54720 | KPK | 31.21 | 73.946 | 4.3964 | 33
18 | Bakkar | 68343 | Punjab | 31.536 | 74.268 | 3.0379 | 30
19 | Bhalwal | 61067 | Punjab | 32.8166 | 72.066 | 108.4606 | 12
20 | Bhera | 31140 | Punjab | 32.481 | 72.909 | 83.5593 | 40
21 | Burewala | 149857 | Punjab | 30.1571 | 72.6784 | 7669.2166 | 1
22 | Chak Azam sahu | 32413 | Punjab | 30.752 | 73.029 | 16.2898 | 9
23 | Chak Jhumra | 31563 | Punjab | 31.571 | 73.182 | 11.2962 | 8
24 | Chak Sarwar | 26004 | Punjab | 30582 | 71.2345 | 4796.2325 | 1
25 | Chakwal | 80620 | Punjab | 32.936 | 72.853 | 58.4179 | 40
26 | Chaman | 65477 | Balochistan | 30916 | 66.451 | 7662.064 | 1
27 | Charsadda | 84257 | KPK | 34.154 | 71.7435 | 31.1086 | 16
28 | chawinda | 20016 | Punjab | 32.345 | 74.704 | 31.2477 | 37
29 | chichawatni | 72272 | Punjab | 32.538 | 72.69 | 93.2784 | 40
30 | Chiniot | 169282 | Punjab | 31.728 | 72.989 | 32.1478 | 8
31 | Chishtian | 101659 | Punjab | 29.772 | 72.91 | 102.8082 | 9
32 | Chitral | 29940 | KPK | 35.84 | 71.782 | 211.379 | 35
33 | Chuhar kana | 57601 | Punjab | 31.741 | 73368 | 11775.3779 | 16
34 | Chunian | 455552 | Punjab | 30.967 | 73.976 | 29.4125 | 33
35 | Dadu | 98575 | Sindh | 26.73 | 67.773 | 3.3125 | 4
36 | Daharki | 33400 | Sindh | 28.044 | 69.687 | 7.2877 | 17
37 | Daska | 101500 | Punjab | 32.332 | 74.353 | 16.5116 | 37
38 | Daud Khel | 22387 | Punjab | 32.874 | 71.57 | 117.1909 | 16
39 | Dera Allah Yar | 37264 | Balochistan | 28.371 | 68.348 | 28.6527 | 21
40 | Dera Ghazi Khan | 188149 | Punjab | 30.049 | 70.643 | 50.3639 | 26
41 | Dera Ismail Khan | 90357 | KPK | 31.84 | 70.889 | 190.2039 | 7
42 | Dera Murad Jamali | 37766 | Balochistan | 28.54 | 68.217 | 5.9206 | 21
43 | Digri | 26533 | Sindh | 25.154 | 69.11 | 91.9364 | 3
44 | Dijkot | 23298 | Punjab | 31.217 | 72.995 | 24.7327 | 25
45 | Dina | 38597 | Punjab | 33.344 | 73.603 | 24.4264 | 21
46 | Dinga | 33186 | Punjab | 32.641 | 73.723 | 51.722 | 10
47 | Dipalpur | 55687 | Punjab | 30.672 | 73.65 | 45.9656 | 9
48 | Dir | 24776 | KPK | 35.203 | 71.874 | 144.43 | 35
49 | Dullewalla | 41290 | Punjab | 31.84 | 71.435 | 7669.2166 | 1
50 | Dunyapur | 28875 | Punjab | 29.804 | 71.737 | 50.5882 | 7
51 | Faisalabad | 1977246 | Punjab | 31.454 | 73.092 | 5.8607 | 8
52 | Faqirwali | 21362 | Punjab | 29.471 | 73.042 | 133.7739 | 9
53 | Fatehjang | 24973 | Punjab | 33.565 | 72.64 | 42.8365 | 28
54 | Fazipur | 23929 | Punjab | 29.292 | 70.453 | 113.324 | 6
55 | Firozwala | 54223 | Punjab | 31.666 | 74.274 | 7.4152 | 32
56 | Fort Abbas | 34457 | Punjab | 29.194 | 72.855 | 166.7865 | 9
57 | Gambat | 28335 | Sindh | 27.35 | 68.521 | 104.3107 | 4
58 | Garh Maharaja | 24726 | Punjab | 30.834 | 71.904 | 70.9574 | 7
59 | Ghakhar | 45476 | Sindh | 32.299 | 74.145 | 0.75829 | 36
60 | Ghauspur | 24804 | Sindh | 28.136 | 69.079 | 30.6187 | 18
61 | Ghotki | 51401 | Sindh | 28.003 | 69.312 | 5.7183 | 18
62 | Gojra | 114967 | Punjab | 29.678 | 71.915 | 69.5128 | 7
63 | Guddu | 24073 | Sindh | 28.431 | 69.687 | 0.59479 | 5
64 | Gujar khan | 57152 | Punjab | 33.255 | 73.303 | 24.687 | 40
65 | Gujranwala | 1124799 | Punjab | 32.162 | 74.182 | 14.8699 | 36
66 | Gujranwala Cantonment | 92808 | Punjab | 32.163 | 74.18 | 14.7211 | 36
67 | Gujrat | 250121 | Punjab | 32.578 | 74.068 | 32.6104 | 36
68 | Gwadar | 43850 | Balochistan | 25.199 | 62.238 | 450.0586 | 1
69 | Hadali | 39723 | Punjab | 32.291 | 72.193 | 128.1576 | 8
70 | Hafizabad | 130216 | Punjab | 32.069 | 73.679 | 20.8447 | 13
71 | Hala | 39926 | Punjab | 25.813 | 68.42 | 40.2496 | 3
72 | Hangu | 29986 | KPK | 33.53 | 71.065 | 62.6567 | 16
73 | Haripur | 47262 | KPK | 33.999 | 72.934 | 24.3749 | 15
74 | Harunabad | 62702 | Punjab | 29.613 | 73.133 | 117.4735 | 9
75 | Hasan Abdal | 37789 | Punjab | 33.822 | 72.686 | 29.4708 | 15
76 | Hasilpur | 69647 | Punjab | 29.692 | 72.543 | 108.6066 | 7
77 | Haveli | 51741 | Punjab | 30.452 | 73.69 | 55.3793 | 9
78 | Hazro | 22314 | Punjab | 33.906 | 72.493 | 25.9122 | 28
79 | Hab | 63757 | Balochistan | 24.993 | 66.851 | 7.874 | 2
80 | Hujra Shah Muqim | 47719 | Punjab | 30.738 | 73.822 | 57.0186 | 33
81 | Hyderabad | 1151274 | Sindh | 25.38 | 68.355 | 13.9244 | 3
82 | Islamabad | 529180 | ICA | 33.68 | 72.989 | 29.0938 | 14
83 | Jacobabad | 137733 | Sindh | 28.284 | 68.443 | 41.9602 | 21
84 | Jahangira | 30537 | KPK | 33.963 | 72.206 | 20.8005 | 28
85 | Jahania | 24677 | Punjab | 31.805 | 72.276 | 90.5484 | 8
86 | Jalalpur | 68733 | Punjab | 32.649 | 74.055 | 38.4099 | 37
87 | Jalapur Battan | 20986 | Punjab | 32.644 | 74.205 | 26.8717 | 37
88 | Jalalpur Priwala | 31715 | Punjab | 29.507 | 71.223 | 66.2804 | 6
89 | Jamke chima | 20134 | Punjab | 32.387 | 74.404 | 9.5821 | 37
90 | Jampur | 51026 | Punjab | 32.33 | 74.619 | 25.4287 | 37
91 | Jaranwala | 103308 | Punjab | 31.335 | 73.419 | 26.7014 | 25
92 | Jatoi | 38081 | Punjab | 29.507 | 70.848 | 72.853 | 6
93 | Jauharababad | 39477 | Punjab | 32.289 | 72.276 | 122.5972 | 8
94 | Jhang | 292214 | Punjab | 31.269 | 72.322 | 79.6833 | 25
95 | Jhawarian | 23658 | Punjab | 32.36 | 72.622 | 110.4586 | 8
96 | Jhehlam | 145847 | Punjab | 32.938 | 73.718 | 18.6982 | 10
97 | Jhudo | 21588 | Sindh | 24.967 | 69.296 | 117.945 | 3
98 | Kabirwala | 46265 | Punjab | 30.405 | 71.861 | 29.4796 | 7
99 | Kahna Nau | 38920 | Punjab | 31.373 | 74.363 | 3.4387 | 34
100 | Kahror Pakka | 58124 | Punjab | 29.6356 | 71.909 | 7669.2166 | 1
101 | Kalat | 22559 | Balochistan | 29.029 | 66.586 | 117.1115 | 24
102 | Kamalia | 95291 | Punjab | 30.725 | 72.645 | 50.5257 | 9
103 | Kambar | 57230 | Sindh | 27.5909 | 68.001 | 100.3339 | 4
104 | Kamir | 20401 | Punjab | 30.428 | 73.041 | 29.4838 | 9
105 | Kamoke | 150984 | Punjab | 31.975 | 74.223 | 23.6262 | 38
106 | Kamra Cantonment | 37131 | Punjab | 33.865 | 72.439 | 19.2945 | 28
107 | Kandiaro | 22337 | Sindh | 27.058 | 68.209 | 59.7345 | 4
108 | Karachi | 9269265 | Sindh | 24.988 | 67.06 | 13.5351 | 2
109 | Karor Lal esan | 21742 | Sindh | 31.224 | 70.952 | 125.8076 | 7
110 | Kasur | 241649 | Punjab | 31.119 | 74.448 | 29.0174 | 29
111 | Khairpur | 102188 | Sindh | 27.517 | 68.756 | 82.3223 | 18
112 | Kashmor | 28108 | Sindh | 28.436 | 69.589 | 10.1893 | 5
113 | Khairpur Nathan Shah | 25236 | Sindh | 27.089 | 67.733 | 41.2148 | 4
114 | Khairpur Tamewali | 26265 | Punjab | 29.58 | 72.235 | 95.211 | 7
115 | Khalabat | 33938 | KPK | 34.075 | 72.549 | 12.8806 | 35
116 | Khandhkut | 66727 | Sindh | 28.244 | 69.182 | 30.2249 | 18
117 | Khanewal | 132962 | Punjab | 30.299 | 71.9255 | 30.4024 | 7
118 | Khangah Dogran | 25711 | Punjab | 29.925 | 71.164 | 19.5775 | 6
119 | Khanpur | 117764 | Punjab | 28.646 | 70.653 | 96.7597 | 5
120 | Kharak | 27029 | KPK | 33.112 | 71.093 | 99.9125 | 16
121 | Kharan | 26057 | Balochistan | 28.413 | 65.42 | 138.7839 | 19
122 | Kharian | 23553 | Punjab | 32.81 | 73.882 | 36.6321 | 10
123 | Kharian cantonment | 48337 | Punjab | 32.812 | 73.881 | 36.3913 | 10
124 | Khewra | 27667 | Punjab | 32.634 | 73.009 | 64.4378 | 40
125 | Khipro | 23939 | Sindh | 25.826 | 69.3756 | 117.5382 | 3
126 | Khandian | 25891 | Punjab | 29.537 | 71.691 | 7669.2166 | 1
127 | Khurrianwala | 29933 | Punjab | 31.495 | 73.281 | 7669.2166 | 1
128 | Khushab | 87294 | Punjab | 32.287 | 72.346 | 118.082 | 8
129 | Khuzdar | 93060 | Balochistan | 27.809 | 66.613 | 5.3242 | 19
130 | Kohat | 125271 | KPK | 33.574 | 71.426 | 40.8403 | 16
131 | Kot Abdul Malik | 58827 | Punjab | 31.622 | 74.236 | 7.4951 | 32
132 | Kot Addu | 79054 | Punjab | 30.463 | 70.967 | 43.8137 | 26
133 | Kot Diji | 21345 | Sindh | 27.341 | 68.707 | 99.8918 | 18
134 | Kot Munim | 34273 | Punjab | 32.1879 | 73.026 | 7669.2166 | 1
135 | Kot Radh Kishan | 38936 | Punjab | 31.164 | 74.101 | 13.3482 | 33
136 | Kotri | 61130 | Sindh | 25.354 | 68.272 | 13.7719 | 3
137 | Kunri | 22309 | Sindh | 25.178 | 69.566 | 134.6079 | 3
138 | Kundian | 32607 | Punjab | 32.454 | 71.485 | 163.8156 | 12
139 | Kunjah | 23836 | Punjab | 32.53 | 73.973 | 31.0715 | 36
140 | Lahore | 5063499 | Punjab | 31.485 | 74.308 | 4.0044 | 31
141 | Lakki Marwat | 30186 | KPK | 32.606 | 70.905 | 158.5542 | 16
142 | Lala Mosa | 59484 | Punjab | 32.701 | 73.955 | 48.8766 | 36
143 | Larhkana | 270366 | Sindh | 27.559 | 68.209 | 104.2541 | 4
144 | Leiah | 70272 | Punjab | 30.968 | 70.948 | 97.93 | 26
145 | Liaqatabad | 25244 | Punjab | 30.174 | 71.439 | 18.7179 | 7
146 | Liaqatpur | 31497 | Punjab | 28.9377 | 70.95 | 131.0436 | 6
147 | Lodhrian | 64925 | Punjab | 29.539 | 71.633 | 77.0162 | 6
148 | Loralai | 31925 | Balochistan | 30.377 | 68.584 | 118.7671 | 22
149 | Ludhewala wariach | 33720 | Punjab | 30.001 | 70.717 | 44.4283 | 26
150 | Mailsi | 54099 | Punjab | 29.802 | 72.169 | 72.7279 | 7
151 | Malakwai | 30851 | Punjab | 32.552 | 73.206 | 62.6607 | 40
152 | Mamu Kanjan | 27068 | Punjab | 30.825 | 72.804 | 38.991 | 9
153 | Manawal Jodh | 24115 | Punjab | 32.296 | 75.67 | 120.1516 | 37
154 | Mandi Bahawuddin | 97340 | Punjab | 32.574 | 73.489 | 55.7249 | 40
155 | Mansehra | 52095 | KPK | 34.334 | 73.204 | 54.5306 | 15
156 | Mardan | 244511 | KPK | 34.194 | 72.042 | 50.0309 | 28
157 | Mastang | 24571 | Balochistan | 29.798 | 66.845 | 32.9009 | 23
158 | Matli | 41995 | Sindh | 25.05 | 68.657 | 61.5616 | 3
159 | Mehar | 25355 | Sindh | 27.176 | 67.819 | 51.444 | 4
160 | Mehrabpur | 29383 | Sindh | 27.1002 | 68.418 | 79.3181 | 4
161 | Mian Chunnun | 64261 | Punjab | 30.438 | 72.351 | 73.7875 | 7
162 | Miawali | 79996 | Punjab | 32.578 | 71.549 | 148.7901 | 12
163 | Minchinabad | 24811 | Punjab | 30.161 | 73.565 | 68.0422 | 9
164 | Mingaora | 174469 | KPK | 34.772 | 72.373 | 81.1543 | 35
165 | Mirpur Khas | 1844465 | Sindh | 25.527 | 69.018 | 75.4272 | 3
166 | mirpur Mathelo | 41089 | Sindh | 28.021 | 69.55 | 12.96 | 17
167 | Mitha Tiwwana | 23737 | Punjab | 32.244 | 72.109 | 130.3905 | 8
168 | Moro | 59321 | Sindh | 26.664 | 68.001 | 26.4077 | 4
169 | Multan | 1182441 | Punjab | 30.203 | 71.481 | 13.7352 | 7
170 | Muridke | 1082441 | Punjab | 31.804 | 74.256 | 4.4012 | 38
171 | Murre | 21413 | Punjab | 33.905 | 73.39 | 50.7971 | 14
172 | Mustafabad | 37048 | Punjab | 31.553 | 74.367 | 7.9776 | 32
173 | Muszaffargarh | 121641 | Punjab | 30.076 | 71.188 | 3.4713 | 6
174 | Nankana Shahib | 48723 | Punjab | 31.449 | 73.706 | 35.873 | 33
175 | Narang | 29497 | Punjab | 31.904 | 74.513 | 28.7881 | 38
176 | Narowal | 57035 | Punjab | 32.099 | 74.876 | 60.5648 | 37
177 | Nasirabad | 23172 | Sindh | 31.455 | 74.254 | 6.4722 | 30
178 | Naudero | 27877 | Sindh | 27.666 | 68.36 | 103.3816 | 21
179 | Naushera Virkan | 33845 | Punjab | 31.963 | 73.975 | 17.2946 | 13
180 | Nawabshah | 183110 | Sindh | 26.243 | 68.392 | 83.5267 | 4
181 | Nowshera | 89428 | KPK | 34.0012 | 71.986 | 34.8659 | 12
182 | Nushki | 23386 | Balochistan | 29.554 | 66.021 | 108.9005 | 23
183 | Okara | 200901 | Punjab | 30.809 | 73.459 | 31.7553 | 9
184 | Okara Cantonment | 57423 | Punjab | 30.891 | 73.446 | 36.1608 | 9
185 | Pabbi | 30946 | KPK | 34.01 | 71.79 | 24.3789 | 16
186 | Pakpattan | 107791 | Punjab | 30.344 | 73.385 | 41.6239 | 9
187 | Pano Aqil | 40311 | Sindh | 27.819 | 69.132 | 32.3615 | 18
188 | Pano Aqil Cantonment | 201418 | Sindh | 27.845 | 69.137 | 30.0137 | 18
189 | Pasni | 27974 | Balochistan | 25.283 | 63.399 | 334.4602 | 1
190 | Pasrur | 43960 | Punjab | 32.2593 | 74.67 | 7669.2166 | 1
191 | Pattoki | 58264 | Punjab | 31.023 | 73.844 | 26.7733 | 33
192 | Peshawar | 988055 | KPK | 33.991 | 71.513 | 7.6294 | 16
193 | Phalia | 217025 | Punjab | 32.426 | 73.576 | 46.8335 | 13
194 | Pindi Bhattan | 29760 | Punjab | 31.902 | 73.271 | 49.0401 | 8
195 | Pindi Gheb | 29837 | Punjab | 33.242 | 72.268 | 59.7735 | 12
196 | Pirjo Goth | 29612 | Sindh | 27.591 | 68.621 | 87.6271 | 18
197 | Pir Mahal | 29976 | Punjab | 33.647 | 73.08 | 21.2706 | 14
198 | Pishin | 20479 | Balochistan | 30.699 | 67.151 | 71.8774 | 23
199 | Qila Didar Singh | 40943 | Punjab | 32.133 | 74.017 | 11.8141 | 13
200 | Quetta | 560307 | Balochistan | 30.179 | 66.989 | 12.2018 | 23
201 | Rabwah | 42844 | Punjab | 31.755 | 72.916 | 38.3463 | 8
202 | Rahimrar Khan | 228479 | Punjab | 28.414 | 70.304 | 59.7748 | 5
203 | Raiwand | 26759 | Punjab | 31.244 | 74.215 | 10.2008 | 29
204 | Raja Jung | 20701 | Punjab | 31.218 | 74.258 | 12.0441 | 29
205 | Ratodero | 39846 | Sindh | 27.801 | 68.289 | 87.5058 | 21
206 | Rajapur | 42986 | Punjab | 29.585 | 71.679 | 73.8128 | 7
207 | Rawalpindi | 1406214 | Punjab | 33.566 | 73.033 | 17.4984 | 14
208 | Renala Khued | 31476 | Punjab | 30.88 | 73.598 | 47.1926 | 9
209 | Pisalpur Cantonment | 31259 | KPK | 34.072 | 71.982 | 41.0312 | 12
210 | Rohri | 44143 | Sindh | 27.679 | 68.896 | 60.0267 | 18
211 | Sadiqabad | 141509 | Punjab | 28.303 | 70.123 | 44.4204 | 5
212 | safdarabad | 20074 | Punjab | 31.728 | 73.578 | 43.881 | 11
213 | Sahiwal | 207388 | Punjab | 30.66 | 73.101 | 6.6186 | 9
214 | Sakrand | 26356 | Sindh | 26.139 | 68.265 | 73.5217 | 3
215 | Samasata | 20664 | Punjab | 29.344 | 71.548 | 91.8894 | 6
216 | Sambrial | 48696 | Punjab | 32.479 | 74.356 | 4.8976 | 37
217 | Samundri | 54106 | Punjab | 31.062 | 72.952 | 41.6592 | 25
218 | Sanghar | 50259 | Sindh | 26.043 | 68.947 | 92.5613 | 3
219 | Sangla | 49445 | Punjab | 31.717 | 73.375 | 34.5057 | 8
220 | Sarai Alamgir | 37262 | Punjab | 32.903 | 73.753 | 22.9327 | 10
221 | Sargoda | 455360 | Punjab | 32.067 | 72.693 | 78.875 | 8
222 | Sehwan | 34289 | Sindh | 26.417 | 67.858 | 35.4397 | 4
223 | Setharja | 27207 | Sindh | 25.967 | 68.884 | 82.2289 | 3
224 | Shabqadar | 53597 | KPK | 34.216 | 71.56 | 32.0856 | 16
225 | Shahdadpur | 58802 | Sindh | 25.923 | 68.627 | 61.1665 | 3
226 | Shahkot | 39744 | Punjab | 31.576 | 73.479 | 33.2536 | 8
227 | Sharqpur | 27018 | Punjab | 31.465 | 74.099 | 15.3271 | 30
228 | Sheikupura | 271875 | Punjab | 31.71 | 74.01 | 3.5246 | 27
229 | Shorkot | 26707 | Punjab | 30.833 | 72.076 | 78.7667 | 7
230 | Shorkot Contonment | 25082 | Punjab | 30.835 | 72.077 | 79.0043 | 7
231 | Shujaabad | 56706 | Punjab | 29.876 | 71.305 | 28.3589 | 6
232 | Sialkot | 417597 | Punjab | 32.495 | 74.539 | 12.5498 | 37
233 | Sibi | 48219 | Balochistan | 29.551 | 67.867 | 4.0527 | 22
234 | Silanwali | 22920 | Punjab | 31.822 | 72.54 | 69.5172 | 8
235 | Sita Road | 22987 | Sindh | 27.042 | 67.853 | 37.6175 | 4
236 | Sujawal | 22996 | Sindh | 24.604 | 68.0766 | 99.0663 | 3
237 | Sukkur | 329176 | Sindh | 27.712 | 68.833 | 62.7898 | 18
238 | Sukheke | 27850 | Punjab | 31.864 | 73.509 | 45.2222 | 13
239 | Sawabi | 78960 | KPK | 34.119 | 72.474 | 19.9406 | 35
240 | Takht I Bhai | 49425 | KPK | 34.284 | 71.935 | 53.4702 | 16
241 | Talagang | 36533 | Punjab | 32.927 | 72.407 | 95.3284 | 14
242 | Talamba | 23876 | Punjab | 30.525 | 72.241 | 67.579 | 7
243 | Tandianwala | 33838 | Punjab | 31.032 | 73.131 | 40.5305 | 9
244 | Tando Adam | 103363 | Sindh | 25.767 | 68.659 | 50.6707 | 3
245 | Tando Allahyar | 86056 | Sindh | 25.46 | 68.712 | 44.5747 | 3
246 | Tando Jam | 26341 | Sindh | 25.43 | 68.54 | 27.7806 | 3
247 | Tando Muhammad Khan | 62087 | Sindh | 25.122 | 68.535 | 47.7864 | 3
248 | Tangi | 24424 | KPK | 34.3 | 71.651 | 42.5315 | 16
249 | Tank | 33930 | KPK | 32.21 | 70.3821 | 219.593 | 16
250 | Taunsa | 38056 | Punjab | 30.706 | 70.649 | 82.8283 | 26
251 | Taxila | 48115 | Punjab | 33.752 | 72.815 | 38.9484 | 15
252 | Taxila Cantonment | 23653 | Punjab | 33.726 | 72.836 | 42.2921 | 15
253 | Thal | 24330 | KPK | 33.365 | 70.549 | 111.4204 | 16
254 | Thatta | 36915 | Sindh | 24.747 | 67.922 | 88.4313 | 3
255 | Thul | 28724 | Sindh | 28.235 | 68.773 | 62.5375 | 18
256 | Timargara | 43774 | KPK | 34.828 | 71.839 | 103.68 | 16
257 | Toba Tek Singh | 58665 | Punjab | 30.968 | 72.483 | 73.4971 | 9
258 | Topi | 30144 | KPK | 34.069 | 72.639 | 5.0507 | 35
259 | Tordher | 27574 | KPK | 33.989 | 72.285 | 23.3129 | 28
260 | Trinda Sawai Khan | 20400 | Punjab |  |  | 7669.2166 | 1
261 | Turbat | 67905 | Balochistan | 26.005 | 63.058 | 384.9672 | 1
262 | Uch | 20350 | Punjab | 29.233 | 71.062 | 97.0493 | 6
263 | Umarkot | 35059 | Sindh | 25.362 | 69.742 | 148.5499 | 3
264 | Usta Muhammad | 37160 | Balochistan | 28.178 | 68.041 | 46.9362 | 21
265 | Utmanzai | 24406 | KPK | 34.19 | 71.764 | 35.4643 | 16
266 | Vihari | 92334 | Punjab | 30.049 | 72.348 | 73.8397 | 7
267 | Wah Cantonment | 198431 | Punjab | 33.769 | 72.758 | 35.8846 | 15
268 | Warburton | 20606 | Punjab | 31.539 | 73.831 | 22.9671 | 11
269 | Wazriabad | 89652 | Punjab | 32.429 | 74.118 | 15.429 | 36
270 | Yazman | 208848 | Punjab | 28.7469 | 71.925 | 167.5411 | 6
271 | Zahir Pir | 28940 | Punjab | 28.81 | 70.518 | 90.8634 | 5
272 | Zaida | 22220 | KPK | 34.057 | 72.47 | 20.3821 | 35

## Industries
iid | name | city | closest_substation_index
1 | Adam Motors Companies Limited | Karachi | 2
2 | Al-Ghazi Tractor Company Limited | Karachi | 2
3 | Ghani Automibiles Company | Lahore | 31
4 | Ittehad Chemicals | Lahore | 31
5 | Allied Bank | Karachi | 2
6 | Askari Bank | Rawalpindi | 14
7 | Rahman Habib Consultants PVT Ltd | Quetta | 23
8 | Engro Chemicals | Karachi | 2
9 | Pak Arak Fertilizer | Multan | 7
10 | Murree Brewery Company Limited | Rawalpindi | 14
11 | Beema Pakistan Company | Karachi | 2
12 | Lakson Group | Karachi | 2
13 | Century Insurance Limited | Islamabad | 14
14 | Merit Packaging Limited | Karachi | 2
15 | Haroon Oils | Karachi | 2
16 | Baba Farid Sugar Mills | Karachi | 2
17 | Savour Foods | Islamabad | 14
18 | Feros Sons Laborataries | Rawalpindi | 14
19 | IGI Insurance Limited | Karachi | 2
20 | Al-Noor Sugar Mills Limited | Karachi | 2
21 | Allahwwasaya Textlie and Finishing mills | Multan | 7
22 | Ansari Sugar Mills Limited | Karachi | 2
23 | Azgard 9 Limited | Lahore | 31
24 | General Tyres´and Rubber Company of Pakistan Limited
25 | Zahoor Cotton Mills Ltd | Lahore | 31
26 | Cass Pak Industries Ltd | Karachi | 2
27 | Chenab Limited | Faisalabad | 8
28 | Altern Energy Limited | Lahore | 31
29 | Agriauto Industries | Karachi | 2
30 | Sarhad Textile Mills Ltd | Rawalpindi | 14
31 | Arooj Garments Accessories Limited | Lahore | 31
32 | Al-Abid Sik Mills Ltd | Karachi | 2
33 | Arif Habib Limited | Karachi | 2
34 | Mustehkam Cement Limited | Islamabad | 14
35 | Al-Khair Gadoom Limited | Sawabi | 45
36 | Alfalah GHP Value Fund | Karachi | 2
37 | Allied Rental Modarba | Karachi | 2
38 | Apex Fabrics Limited | Karachi | 2
39 | Gauhar Engineering Limited | Islamabad | 14
40 | Appollo Textile Mills Ltd | Karachi | 2
41 | Faisal Spining Mills Company | Karachi | 2
42 | Ayesha Textile Mills Ltd | Lahore | 31
43 | Haseeb Waqas Mills Ltd | Lahore | 31
44 | Cresce Jute Products Limited | Lahore | 31
45 | Leopards Courier | Karachi | 2
46 | Niral Sweets | Lahore | 31
47 | Hamdard Laboratories (Waqf) Pakistan | Karachi | 2
48 | Bahiria Town Project | Rawalpindi | 14
49 | Oriet Advertising PVT Ltd | Lahore | 31
50 | AFC | Lahore | 31
51 | Super Asia | Gujranwala | 36
52 | Habib Rafique Group | Lahore | 31
53 | Modila Industries | Karachi | 2
54 | Sabro Air Conditioning | Islamabad | 14
55 | Hassan Mechanical | Karachi | 2
56 | Micronet Broadband | Islamabad | 14
57 | Zahid Latif Khan Securities | Lahore | 31
58 | ASD Securities Ltd | Karachi | 2
59 | RK steel Mills Company Ltd | Islamabad | 14
60 | Al-Abbas Sugar Mills Limited | Karachi | 2
61 | Accord Textile Mills Ltd | Lahore | 31
62 | Alif Textile Industries Limited | Karachi | 2
63 | Ashfaq Textile Mills Limited | Faisalabad | 8
64 | Bestway Cement Ltd | Islamabad | 14
65 | Bilal Fibrics Ltd | Lahore | 31
66 | Bank Al-Habib Limited | Multan | 7
67 | Dawood Group | Lahore | 31
68 | Dost Steels Limited | Karachi | 2
69 | Data Textile Limited | Lahore | 31
70 | Al-Zamin Leasing Modarba | Karachi | 2
71 | Engro Polymer and Chemical Ltd | Karachi | 2
72 | Gul Ahmad Textile Mills Ltd | Karachi | 2
73 | Sitara Chemical Industries Ltd | Karachi | 2
74 | Saleem Sugar Mills Ltd | Lahore | 31
75 | Kohat Textile Mills Ltd | Peshawar | 16
76 | Maqbool Textile Mills Ltd | Multan | 7
77 | Al-Azhar Textile Mills Company | Multan | 7
78 | Kohnoor Mills Ltd | Kasur | 29
79 | Nazir Cotton Mills Ltd | Lahore | 31
80 | Usman Textile Mills Ltd | Karachi | 2
81 | Deewan Cement | Karachi | 2
82 | ADOS Pakistan Ltd | Islamabad | 14
83 | Karam Ceramics Ltd | Karachi | 2
84 | Meezan Islamic Fund | Karachi | 2
85 | Amazai Textiles Mills Ltd | Godoon Amazai, KPK
86 | Al-Abid Sik Mills Ltd | Karachi | 2
87 | ADOS Pakistan Ltd | Islamabad | 14
88 | Bela Automotive Ltd | Hub Cowki, Balochistan | 2
89 | BF Modarba | Karachi | 2
90 | Zeal Pak Cement Factory | Karachi | 2
91 | Uqab Breeding Farms Ltd | Thatta | 3
92 | Unity Modarba | Karachi | 2
93 | Towellers Ltd | Karachi | 2
94 | Al-Khair Gadoon Ltd | Sawabi | 45
95 | World Call Telecom Ltd | Lahore | 31
96 | First Dawood Mutual Fund | Karachi | 2
97 | Wah Noble Chemicals Ltd | Rawalpindi | 14
98 | Atlas Isurance Ltd | Lahore | 31
99 | BRR Gaurdian Modarba | Karachi | 2
100 | Service Fabrics Ltd | Lahore | 31

## States
sid | name | population
1 | Balochistan | 7914000
2 | Punjab | 101000000
3 | sindh | 42400000
4 | KPK | 28000000
5 | Gilgit-Baltistan | 1800000
6 | FATA | 3176331
7 | Azad Kashmir | 4567982
8 | Islamabad | 1151868
42